# ASSESSESMENT RADIATION RISK FROM CONSUMING WATER FROM PUBLIC FOUNTAINS IN THE WILDER TERRITORY OF KRUŠEVAC

BILJANA VUČKOVIĆ1*, NATAŠA TODOROVIĆ2, DRAGA RADOVANOVIĆ1, TIJANA KEVKIĆ1

1 Faculty of Natural Science and Mathematics, University of Pristina, Kosovska Mitovica, Srbia

2Facucty of Science, Department of Physics, University of Novi Sad, Serbia

## ABSTRACT

Measurements of radon concentrations in drinking waters conducted on wider territory of the town of Kruševac included 16 public fountains, of which 4 are in the city itself and 12 in the surrounding area. Measurements of radon concentrations in water were carried out using radon detector RAD7 (DURRIDGE Co.). The values ​​of radon concentrations in water are in the range of 5.3 ± 0.8 Bq l-1 to 71.0 ± 7.2 Bq l-1 and are below the reference level of 100 Bq l-1, recommended by the European Commission. Since radon represents one of the most important causes of malignant diseases, annual effective doses of ingestion and inhalation are determined, whose mean values ​​are in the range of 0.04 mSv y-1 to 0.52 mSv y-1, and from 14.84 μSv y-1 to 198.8 μSv y-1, respectively. During sampling, water temperatures and their pH values were measured. These results are the first results of measuring radon in water in this area by this method. The aim of this paper is to evaluate whether there is, or not, a radiological risk to people's health due to the use of water primarily for drinking, but also for other purposes.

Keywords: radon, water, RAD7, temperature, pH, annual effective doses of internal radiation

## INTRODUCTION

Numerous epidemiological studies have shown that the presence of radon in the environment is considered to be the second most important cause of lung malignancy (immediately after long-term exposure to tobacco smoke) (Manzur et al, 2008; Mitev et al, 2012; Aleissa et al, 2013). Therefore, great attention is paid to investigating the concentration of this radionuclide in water, air (especially indoors) and soil. Radon is a gas without color, odor and taste and therefore cannot be detected by human senses.

As a gas it penetrates the walls and the soil and accumulates in indoor spaces, and the organism is first introduced by inhalation. On the other hand, the solubility of the water in the water and the transport of large distances, allows the accumulation of radon in it, especially if water destroys uranium-rich walls on its path (Appelton, 2013; Jowzaee, 2013). The resulting radon can be inserted into the water by the effect of the rivers and the flow of groundwater and it can be transported to greater distances. Radon is usually present in significant concentrations in those underground waters that are in contact with granite walls, gneiss, shale, and also sandstone and limestone. The presence of radon in water is influenced by a number of other factors, such as: water circulation pathways, presence of soluble gases, temperature and pressure, so the concentration of radon at relatively close

____________________________________________

*corresponding author: biljana.vuckovic@pr.ac.rs

sites can be different (Todorović et al, 2015). According to the European Commission's recommendation, the upper limit for radon concentration in groundwater that can be used for drinking is 100 Bq l-1 (WHO, 2004; European Commission, 2013). When radon-rich groundwater reaches the surface (springs, wells, public fountains), the concentration of radon in the water will rapidly decline during its movement and purification. Generally, groundwater is characterized by a higher concentration of radon from surface waters. However, if such water is used for drinking, or for some other purpose directly from the place of origin, as is usual in the rurally, there will still be a high concentration of radon, and the time elapsed from collection to consumption will not be enough to potential health risks associated with radon and its short-lived offspring would be prevented (Galan et al, 2004).  It is therefore important to control the concentration of of radon in water at the sources and public fountains in order to determine whether it is safe from the radiological point of view.

In the body, radon can be introduced by ingestion and inhalation, with the dosage of the body's irradiation in the first place depending on its amount in water, metabolism and kinetics in the body. Since radon is an aqua-phobic, and easily leaves the water, its presence in the water does not pose a direct danger to health (Todorović et al, 2012), but the radon released from that water is released into the enclosure and thus enhanced its presence. Therefore, great attention is paid to measuring the concentration of radon in the air in an enclosed space (Žunić et al, 2006; Nikolov et al, 2012). It was estimated that the inhalation of radon and its offspring, released from drinking water, caused as much as 89% of lung cancer, while the remaining 11% of the carcinoma in the first order of the digestive tract was due to ingestion of water with increased radon concentrations (USEPA, 1999).

An important parameter of water is relative acidity or alkalinity, which is determined by measuring the pH value. Low pH value is the most important parameter linked to the high radium concentration, thus it is readily soluble in low pH water (Sharma & Sharma, 2013; Kasić et al, 2016). Another important parameter that indicates the presence of radionuclide is temperature, the content of radon decreases with an increase in temperature (Cothern, 1987).

This study presents the results of measuring the concentration of radon in water sampled with 16 public fountains on the wider territory of the city of Kruševac. On the basis of the obtained values, the effective doses of inhalation and ingestion of radon were determined annually and summed up in the total dose of radiation exposed to the population in the area.

## STUDY AREA

Kruševac (43 ° 35'N, 21 ° 19'E) is a city located in the central part of Serbia. According to the official census, the city has 64 500 inhabitants, while on the wider territory of the city there are 131 386 inhabitants. Figure 1 shows the map of 16 investigating locations.

Figure 1.Map of investigating area

When looking at the geological structure of the investigated area, it is noted that the oldest crevices are crystalline shards of high degree of metamorphism, mostly of sedimentary origin. Among them, two complexes are distinguished: (1) ectic, within the Bloc of Big Jastrebac and smaller parties in the Kruševac neogenogen basin, and (2) magmatically, in the Mojsina Mountains with the presence of striated biotic and muscular gneisses.

In the area of ​​Kruševac depression, that is, the largest part of the area investigated, there are the trenches of Drenova, Rasina and Dedina (Geological atlas of Serbia, 1999). Of the 16 explored public fountains 6, there are neogeneous clay, sand and gravel - "Pčela" Šanac, Kapidžija, Gaglovo, Jasika 1 and Jasika 2. On the pleistocene river terraces of the West Morava and Rasina there are Canina fountain, Čitluk 1 and Čitluk 2, fountain near FAM gate, the Lazareva big fountain and the Zulina fountain. Gari, Pakašnica are found on neogeneous clay, sand and gravel. Lazaric fountain is located on holocene alluvium, and the fountain of Sv. Petke in Šanac is located on crystalline shales of high degree of metamorphism.

## EXPERIMENTAL

### Materials and methods

Within these studies, radon concentration in water was measured by alpha spectrometer RAD7 (Durrige Co.). The base of this device is a semi-hopper chamber of 0.7 l capacity, the inner side of which is coated with a material that is a good conductor. In the center of the chamber there is a silicon α-detector. At the entrance to the chamber there is a filter that prevents the penetration of radon descendants in the chamber and thus allows the measurement of only radon concentrations in it. The high voltage electric field (2000-2500 V) present inside the detector chamber makes the energy of the incident alpha radiation directly turn into an electrical signal. As the radon is chemically inert and electrically neutral in the chamber, it will not be directed to the surface of the detector. What the electric field in the chamber accelerates and directs to the detector is Po-218. Only the isotope Po-218 that is deposited on the detector is involved in the measurement process. The loaded Po-218 emits α-particles that, with a probability of 50%, enter the active environment and produce an electric signal whose intensity corresponds to to energy.

When it comes to measuring radon concentration in water, the system (RAD7 RAD H2O) was used. Using the RAD7 pump, the aeration of the sampled water was carried out so that the radon was pressed and translated into the measurement chamber. The air circulates through the water in cycles and continuously extracts the radon from it. The efficiency of extraction of radon from water into the air circulating to the measuring chamber depends slightly on the temperature, but it is always greater than 90%. This system reaches the balance very quickly, but after 5 minutes there is no longer radon that could be separated from the sample. If a concentration greater than 100 Bq l-1 is not expected, 250 ml bottles are used, with the extraction efficiency 94%. Otherwise, the water should be sampled in bottles of a volume of 40 ml, where the extraction efficiency is 99% (RAD7 RAD H2O).

## RESULTS AND DISCUSSION

Tabele 1. Results of measurements at 16 investigating locations

| No. Location | T (oC) | pH | Co (Bql-1) | Ccorr (Bql-1) | Eingest (mSv y-1) | Einhal (μSv y-1) |
| --- | --- | --- | --- | --- | --- | --- |
| 1. Gari | 14 | 7.14 | 2.4±0.5 | 6.0±1.2 | 0.04 | 16.80 |
| 2. Pakašnica | 14 | 7.34 | 7.7±1.0 | 19.2±2.5 | 0.14 | 53.76 |
| 3. Lazaric | 12 | 7.02 | 10.1±1.7 | 30.1±5.1 | 0.21 | 84.28 |
| 4. FAM gate | 16 | 7.75 | 2.3±0.5 | 6.7±1.4 | 0.05 | 18.76 |
| 5. Lazareva | 15 | 6.90 | 1.8±0.3 | 5.3±0.8 | 0.04 | 14.84 |
| 6. Zulina | 16 | 6.94 | 3.4±0.5 | 10.0±1.5 | 0.07 | 28.00 |
| 7. “Pčela” Šanac | 13 | 6.95 | 4.7±1.0 | 14.1±3.0 | 0.10 | 39.48 |
| 8. Pasjak | 15 | 6.93 | 3.7±0.7 | 10.7±2.0 | 0.08 | 29.96 |
| 9. Kapidžija | 13 | 6.99 | 2.2±1.1 | 6.5±3.2 | 0.05 | 18.20 |
| 10. Gaglovo | 14 | 7.19 | 3.8±0.3 | 11.4±0.9 | 0.08 | 31.92 |
| 11. Jasika 1 | 12 | 6.91 | 10.5(2.1 | 14.9±2.9 | 0.11 | 41.72 |
| 12. Jasika 2 | 14 | 7.06 | 9.2(0.9 | 13.1±1.3 | 0.09 | 36.68 |
| 13. Sv.Petka Šanac | 11 | 6.87 | 45(4 | 64.8±5.8 | 0.47 | 181.44 |
| 14. Čitluk 1 | 13 | 5.82 | 49(5 | 71.0±7.2 | 0.52 | 198.80 |
| 15. Canina | 12 | 6.65 | 6.4(2.0 | 11.2±3.5 | 0.08 | 31.36 |
| 16. Čitluk 2 | 14 | 5.9 | 10.8±1.3 | 19.1±2.3 | 0.14 | 53.48 |

Within this study, waters from public fountains were sampled in 1.5-liter plastic bottles for 3 days. They took care to be filled up to the very top and closed under a jet of water to prevent accumulation of radon near the lid. Since the concentration of radon could not be measured at the sampling point, it was very important that the time from sampling to measurement of concentration was reduced to a minimum, as the radon concentration would steadily decline in the sample due to the decay of the radon (half-life 3.82 days). The results of these investigations are summarized and presented in Table 1. In addition to the measured radon concentration Co, its correlation value Ccorr is determined as follows (Todorović et al, 2012):

Ccorr=Co·e(-(ln2·t)T1/2)                                       (1)

where time t defined the time elapsed from sampling to radon concentration measurement, which was in interval from 2 to 6 days within this study.

The results indicate that the concentration of radon in water ranges from 5.3 Bq l-1 - Lazaric fountain to 71.0 Bq l-1 - Čitluk1, with a mean value of 19.69 Bq l-1 and a standard deviation of 19.9 Bq l-1. A slightly more pronounced concentration of radon has the water from the fountain of Sv. Petka in Šanac- 64.8 Bq l-1, which is expected if the geological structure of the terrain on which it is located. Concentrations of radon in water sampled in fountains Čitluk 1 and Čitluk 2 indicate that although they are located in the same geological area, the difference in radon concentration is evident, which is probably due to various underground flows of these waters.

The radon concentrations present in this study are somewhat higher than, for instance, those measured in other part of Serbia: 4.6±8.5 Bq l-1 to 18.6±1.3 Bq l-1 (Todorović et al, 2012) and 7±1 Bq l-1 to 21±2 Bq l-1, except 149±12 Bq l-1 in Niska Banja (Vučković et al, 2014) and in the region: 4.0 to 17.4 Bq l-1 (Radolić et al, 2008) and  214 to 3702 mBq l-1 (Kasić et al, 2016), but still below the proposed reference level of the EU Commission Recommendation.

A low pH value of 5.82 measured in this water sample also indicates an increased presence of radon. But it is not possible to speak in general terms about the interconnectedness of radon and the pH value, which can be seen in figure 2, and is confirmed by the small value of the factor r = 0.26.

Figure 2. Correlation between radon concentrations and the pH values of the water samples

The temperature of the sampled waters is in the range of 11oC - the fountain of Sv. Petka up to 16oC - Zulina fountain and fountain near FAM gate and have no effect on the concentration of radon in water, as indicated by the value of the factor r = 0.28, figure 3.

Figure 3. Correlation between radon concentrations and the temperatures of the water samples

Annual effective doses of internal radiation

Within the control of the population's relapse to natural sources of radiation, the concentration of radon in drinking water is a relevant parameter from the dosimetric aspect. The total effective dose of internal irradiation with radon dissolved in water consists of two components: the first defines the effective dose of ingestion, while the other defines the effective dose of radon inhalation.

Radon-rich water goes directly into the stomach, where further radon can penetrate the body through the walls of the stomach. Part of the injected radionuclide can remain in the same sites for a long time, and some may be linked to macrophages and transferred further to the lymphatic cells. These cells can receive radiation doses of α-particles emitted during the decay of radon and its short-lived offspring in the stomach wall (UNSCEAR, 2000). The range of α-particles in the tissues is 40-70 μm, depending on their energy. The effective dose received from the ingestion of radon and its progeny and related to gastric tissue, expressed in mSv y-1, is determined as follows (WHO, 2003):

Eing = K × CRn × KM × t                                    (2)

where: K is a conversion factor of 10-8 Sv Bq-1 for adults, and 2 × 10-8 Sv Bq-1 for children (WHO, 2003); CRn is the concentration of radon in water; KM is a consumption factor (optimal 2 l / d) and a time of 365 days (USEPA, 1999). Since the concentration of radon in water decreases over time, the effective dose of ingestion refers to the initial concentration of radon in water (European Commission, 1998). The annual effective radiation dose by ingestion of radon inlet is in the interval from 0.04 mSv y-1 (Gari and Lazareva fountain) to 0.52 mSv y-1 (Čitluk 1), mean values ​​of 0.14 mSv y-1 and standard deviation of 0.14 mSv y-1.

It should be emphasized that the radiation dose in the lungs is mainly derived from radon short-lived descendants in bronchioles and less than the radon itself. Radon is largely thrown out of the lungs by the exhausted air. Inhalation of radon progeny can lead to inhomogeneous deposition on the human respiratory tract and bronchial epithelium, which increases the risk of lung cancer. The dose received by inhalation of radon depends on the diameter of the inhaled surrounding particles of aerosols which are generally descended by the fetus and can vary by a factor of ~ 2 in normal home conditions. The effective dose of inhalation received by the lung tissue is obtained by multiplying the concentration of radon in water by a conversion factor of 2.8 μSv Bq-1 m3 (WHO, 2003). Based on the present concentration of radon, the annual effective dose of inhalation is in the range of 14.84 μSv y.1 (Lazareva fountain) to 198.8 μSv y-1 (Citluk 1), mean values ​​of 54.78 μSv y-1 and standard deviation of 55.8 μSv y-1.

CONCLUSION

The highest concentrations of radon were measured in the water sample from the Čitluk 1 and the fountain of Sv. Petka - 71.00 Bq l-1 and 64.80 Bq l-1, and the lowest concentration was in the water sample from the Lazarian fountain - 5.3 Bq l-1. The results of this study indicate that the concentrations of radon in water samples taken from public fountains at 16 different locations with a mean value of 19.72 Bq l-1 and indicate that the radon concentrations in public drinking water

samples are mostly low enough and below the proposed reference level of the EU Commission Recommendation. On that basis, it can be concluded that the water of these public fountains from the radiation aspect can be safely used for drinking, but also for other purposes. Unfortunately, up till now, there is no speciﬁc national regulation for the radon content in drinking water in Serbia.

On the variation of radon concentration in water of great influence, the geological structure of the terrain on which the fountain is located, as well as the path of groundwater movement, indicates a significant concentration of radon in a sample of water from Čitluk 1 from 71.0 Bq l-1 to which the groundwater comes passing through shards and sands.

The temperature of the sampled waters is in the range of 11oC - the fountain of Sv. Petka up to 16oC - Zulina fountain and fountain near FAM gate and no effect on the concentration of radon in water. The measured pH value is in the range of 5.82 (Čitluk 1) to 7.75 (fountain near FAM gate) not accompanied by a fully enhanced presence of radon in water.

The mean values ​​of the effective doses of inhalation and the ingestion of radon at the annual level are 0.14 mSv y-1 and 55.21 μSv y-1, and indicate that the water of these public fountains from the radiation aspect can be safely used for drinking, but also for other purposesptionally, it should indicate the significant contribution of the manuscript with its applications.

## ACKNOWLEGMENTS

This study is a part of the research done within the project no. IJ01-17 supported by the Faculty of Natural Sciences and Mathematics, University of Priština, Kosovska Mitrovica.

REFERENCES

Aleissa, K.A., Alghamdi, A.S., Almasoud, F.I., Islam, Md S. 2013. Measurement of radon levels in groundwater supplies of Riyad with liquid scintillation counter and the associated radiation dose. Radiat. Prot. Dosim., 154, 1, pp. 95–103.

Appleton, J.D. 2013. Radon in air and water, In: Essentials of Medical Geology: Impacts of the Natural Environment on Public Health. Selinus, O. (ed). Elsevier Amsterdam, pp.  227–262.

Cothern, C, Smith J.E., Environmental Radon. New York (NY): Plenum Press;1987.

European Commission. Council Directive 2013/51/ EURATOM of 22 October 2013. Laying down requirements for the protection of the health of the general public with regard to radioactive substances in water intended for human consumption. Off J. Eur. Commun. 2013:L296:12-21.

European Commission. 1998. European drinking water directive 98/83/EC of 3rd November 1998 on the quality of water intended for human consumption. Official J L 1998, pp. 330.

Galan, Lopez, M., Martin, Sanchez A., Gomez, Escobar, V. 2004a. Application of ultra–low level liquid scintillation to the determination of 222Rn in groundwater, J. Radioanal. Nucl. Chem., 261(3), pp. 631–636.

Geological Atlas of Serbia, Geologicam maps No.2 – second edition, 1:2.000 000. 1999.Ministry of Mining and Energy of Serbia and Geomagnetic Institute, Barex, Beograd. (on Serbian)

Jowzaee, S. 2013. Determination of selected natural radionuclide concentration in the southwestern Caspian groundwater using liquid scintillation counting, Radiat. Prot. Dosim., 157(2), pp. 234–241.

Kasić, A., Kasumović, A., Adrović, F., Hodžić, M. 2016. Radon measurements in well and spring water of the Tuzla area, Bosnia and Herzegovina, Arh Hig Rada Toksikol, 67, pp. 332-339.

Kumar, A., Kaur,  M., Sharma, S., Mehra, R. 2016. A study of radon concentration in drinking water samples of Amritsar city of Punjab (India), Radiation Protection and Environment, 39, pp. 13-19.

Manzoor, F., Alaamer, A.S., Tahir, S.N.A. 2008. Exposures to 222Rn from consumption of underground municipal water supplies in Pakistan, Radiat. Prot. Dosim., 130(3), pp. 392–396.

Mitev, K., Dimitrova, I., Zhivkova, V., Georgiev, S., Gerganov, G., Pressyanov, D.,  Boshkova, T. 2012. Measurement of Rn–222 in water by absorption in polycarbonates and liquid scintillation counting, Nucl Instrum Meth, 677, pp. 31–40.

Nikolov, J., Todorović, N., Petrović Pantić, T., Forkapić, S., Mrđa, D., Bikit, I., Krmar, M., Vesković, M. 2012. Exposure to radon in the radon spa Niška Banja, Serbia, Radiation Measurements, 47, pp. 443–450.

RAD7 RAD H2O, Radon in Water Accessory, DURRIDGE Co.

Radolić, V., Šarić, I., Miklavčić, I. 2008. Radon u vodi gradskih vodovoda u naseljima Požeško-slavonske županije [Radon in public waterworks of the cities of Požega-Slavonia County, on Croatian]. In: Barišić D, Grahek Ž, Krajcar Bronić I, Miljanić S, editors. Proceedings of the Seventh Symposium of the Croatian Radiation Protection Association; 29-31 May 2008; Opatija, Croatia 2008. Zagreb: Croatian Radiation Protection Association; pp. 294-299.

Sharma, N., Sharma, R. 2013. Survey of radon concentration in drinking water samples of Hoshiarpur and Ropar districts of Punjab, India. Adv Appl Sci Res, 4, pp. 226-31.

Todorović, N., Nikolov, J., Petrović Pantić, T., Kovačević, J., Stojković, I., Krmar, M., Radon in Water – Hydrogeology and Health Implication (Eds: Audrey M. Stacks), Nova Science Publishers, New York, 2015.

Todorovic, N., Nikolov, J., Forkapic, S., Bikit, I., Mrdja, D., Krmar, M.,Veskovic, M., Public exposure to radon in drinking water in SERBIA., Appl.Radiat.Isot. 70 (2012a), pp. 543–549.

United Nations Scientific Committee on the effects of Atomic Radiation (UNSCEAR). 2008. Sources and effects of Ionizing Radiation. Report to the General Assembly with Scientific Annexes. United Nations, New York.

US Environmental Protection Agency. 1999. Radon in drinking water health risk reduction and cost analysis. EPA Federal Register 64 (USEPA, Office of Radiation Programs), Washington, DC.

Vuckovic, B., Gulan, L.., Milic, G., Adrovic, F., Radovanovic, D. 2014. Ovreview of radon concentrations in air and in water in Serbian spas, Proceedings of Second East Europiean Radon SymposiumSEERAS, 27-30 may, Nis, Serbia, pp 39-42.

World Health Organisation (WHO). 2004. Guidelines for drinking water quality. 3rd ed. WHO Press, Geneva.

World Health Organization (WHO). 2003. Guidelines for drinking water quality. Health Criteria and Other Information. WHO Press, Geneva.

Žunić, Z.S., Kobal, I., Vaupotič, J., Kozak, K., Mazur, J., Birovljev, A., Janik, M., Čeliković, I., Ujić, P., Demajo, A., Krstić, G., Jakupi, B., Quarto, M., Bochicchio, F. 2006.  High natural radiation exposure in radon spa areas: a detailed field investigation in Niska Banja (Balkan region), Journal of Environmental Radioactivity, 89, pp. 249–260.